## Results
2-Dec-21
Dr Falak Sher #37007
Human Cytokine 71-Plex Discovery Assay
Sample Type:
Tissue cell Culture
Standard Curve Matrix:
Assay Buffer
For Research Purposes Only
LEGEND
ENTRY | DEFINITION |  | DESCRIPTION
FI | Fluorescent Intensity |  | Fluorescent Intensity is the median FI value of the bead population for a specific analyte.
Obs Conc | Observed Concentration |  | The corresponding concentration of the FI calculated with the standard curve.
Exp Conc | Expected Concentration |  | The assay's designated concentration values.
OOR | Out of Range (cubic spline curve) |  | Check the FI value to determine if the result is above or below the curve. See OOR > and OOR < below.
OOR > | Out of Range Above the 4 or 5 |  | For data analysis purposes, OOR > can either be designated at the highest standard curve
| Parameter Logistic Standard Curve |  | value or as the highest extrapolated value obtained for the particular analyte.
OOR < | Out of Range Below the 4 or 5 |  | For data analysis purposes, OOR < can either be designated as 0 pg/mL or as the lowest
| Parameter Logistic Standard Curve |  | value obtained for the particular analyte.
Orange Data | Extrapolated Value |  | Extrapolated data means the sample's signals were outside of the curve, yet the
mathematical formula of the curve allowed for a calculation of the FI value.
Blank Cell or --- | Value Not Available |  | Standard curve point eliminated as insignificant or
sample interfered with the analyte's beads rendering the beads unreadable.
| Low Bead Count Or No Beads |  | Sample interfered with the analyte's beads resulting in low (or no) bead count - data may be less accurate.
Blue Data | Partially Filtered |  | Sample did not pass through 0.22µm filter, filter was pierced to allow remaining sample volume through.
| Possible Sample Saturation |  | Saturation may be occurring due to high analyte concentrations. Retesting with a dilution factor may be
necessary to distinguish sample trends
| Low Sample Volume |  | Insufficient sample volume, sample was run with less volume than necessary.
Notes:
1. Due to assay limitations, high %CV’s are common for low signal results (i.e. Low FI values) for replicate samples.
2. If your results are very high (i.e. FI values are close to the high standard values), saturation may be occurring due to high analyte concentrations. Retesting with a dilution factor may be necessary to distinguish sample trends. For cost-effective retesting, It may be possible to retest using a smaller panel or custom-plex kit.
3. The typical regression applied against standard curve FI to calculate observed concentration is cubic spline.
4. For samples which exhibit an FI below the lowest standard point for a particluar analyte a point-to-point semi-log regression may be applied if detectable trends between samples are observed: even though FI is below the first standard point this is not below the assays lowest point of detection for the analyte.
5. If your samples have a dilution factor, the observed concentration results are multiplied by the dilution factor. Low signal results (i.e. Low FI values) from a diluted sample may generate an inflated observed concentration due to this multiplication.
6. It is not recommended to directly analyze and compare individual analyte results from samples that have different dilutions for the same analyte. Different dilutions cause an uncontrolled variable such as sample matrix changes and changes with the range of signals and how it compares to a non-linear standard curve.
RESULTS
|  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL |  |  | Units: pg/mL
|  |  | sCD40L |  |  | EGF |  |  | Eotaxin |  |  | FGF-2 |  |  | FLT-3L |  |  | Fractalkine |  |  | G-CSF |  |  | GM-CSF |  |  | GROα |  |  | IFN-α2 |  |  | IFNγ |  |  | IL-1α |  |  | IL-1β |  |  | IL-1RA |  |  | IL-2 |  |  | IL-3 |  |  | IL-4 |  |  | IL-5 |  |  | IL-6 |  |  | IL-7 |  |  | IL-8 |  |  | IL-9 |  |  | IL-10 |  |  | IL-12p40 |  |  | IL-12p70 |  |  | IL-13 |  |  | IL-15 |  |  | IL-17A |  |  | IL-17E/IL-25 |  |  | IL-17F |  |  | IL-18 |  |  | IL-22 |  |  | IL-27 |  |  | IP-10 |  |  | MCP-1 |  |  | MCP-3 |  |  | M-CSF |  |  | MDC |  |  | MIG/CXCL9 |  |  | MIP-1α |  |  | MIP-1β |  |  | PDGF-AA |  |  | PDGF-AB/BB |  |  | RANTES |  |  | TGFα |  |  | TNFα |  |  | TNFβ |  |  | VEGF-A |  |  |  |  | 6CKine |  |  | BCA-1 |  |  | CTACK |  |  | ENA-78 |  |  | Eotaxin-2 |  |  | Eotaxin-3 |  |  | I-309 |  |  | IL-16 |  |  | IL-20 |  |  | IL-21 |  |  | IL-23 |  |  | IL-28A |  |  | IL-33 |  |  | LIF |  |  | MCP-2 |  |  | MCP-4 |  |  | MIP-1δ |  |  | SCF |  |  | SDF-1α+β |  |  | TARC |  |  | TPO |  |  | TRAIL |  |  | TSLP
Description | Dilution Factor | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | Description | Dilution Factor | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc. | FI | Obs Conc. | Exp Conc.
Standard 1 | 1 | 23 | OOR < | 2.56 | 26 | OOR < | 0.64 | 14 | 0.27 | 0.64 | 24 | OOR < | 5.12 | 24 | 0.19 | 0.19 | 14.5 | 4.91 | 6.4 | 47 | 0.73 | 0.96 | 899 | 0.39 | 0.51 | 18.5 | 0.2 | 0.26 | 26 | 1.16 | 1.6 | 82 | 0.17 | 0.26 | 135.5 | 0.93 | 0.96 | 20 | OOR < | 0.32 | 32 | 0.29 | 0.32 | 54 | 0.1 | 0.13 | 668.5 | 0.32 | 0.26 | 122 | 0.13 | 0.13 | 34 | 0.13 | 0.13 | 57.5 | 0.13 | 0.13 | 600.5 | 0.14 | 0.13 | 18.5 | 0.12 | 0.13 | 28 | OOR < | 0.13 | 29.5 | 0.51 | 0.51 | 18 | 0.35 | 1.28 | 31 | 0.42 | 0.64 | 30.5 | 0.38 | 1.28 | 31 | 0.59 | 0.64 | 31 | 0.1 | 0.26 | 87 | 7.84 | 8 | 84 | 6.31 | 6.4 | 34 | 0.12 | 0.13 | 176.5 | OOR < | 2.56 | 21 | OOR < | 3.2 | 60 | 0.48 | 0.51 | 25 | 0.61 | 0.64 | 36 | 1.53 | 1.6 | 55 | 7.86 | 8 | 209.5 | 0.11 | 0.13 | 55 | 1.25 | 1.28 | 126.5 | OOR < | 0.64 | 45 | OOR < | 0.08 | 70 | 2.36 | 2.56 | 52.5 | OOR < | 1.92 | 47 | 0.23 | 0.26 | 37.5 | 0.11 | 0.26 | 51 | 1.2 | 1.28 | 32 | 0.26 | 0.32 | 215 | 0.49 | 0.51
Standard 2 | 1 | 35 | 16.66 | 12.8 | 38.5 | 3.83 | 3.2 | 23 | 3.46 | 3.2 | 49 | 30.94 | 25.6 | 94 | 1.02 | 0.96 | 39 | 37.46 | 32 | 107.8 | 6.12 | 4.8 | 1165 | 3.54 | 2.56 | 42 | 1.63 | 1.28 | 61.5 | 10.2 | 8 | 164.5 | 1.76 | 1.28 | 387.5 | 5.24 | 4.8 | 29 | 2.32 | 1.6 | 94 | 1.91 | 1.6 | 80 | 0.7 | 0.64 | 732 | 1.23 | 1.28 | 296.3 | 0.66 | 0.64 | 135.8 | 0.69 | 0.64 | 129.8 | 0.67 | 0.64 | 721.5 | 0.68 | 0.64 | 40 | 0.7 | 0.64 | 42.3 | 1.07 | 0.64 | 88 | 2.62 | 2.56 | 33 | 9.38 | 6.4 | 59 | 4.11 | 3.2 | 42 | 7.68 | 6.4 | 88 | 3.76 | 3.2 | 46 | 1.6 | 1.28 | 419 | 43.76 | 40 | 309 | 33.87 | 32 | 103 | 0.77 | 0.64 | 208 | 24.84 | 12.8 | 33.5 | 29.05 | 16 | 154 | 2.66 | 2.56 | 98 | 3.49 | 3.2 | 119 | 8.43 | 8 | 229 | 43.35 | 40 | 420 | 0.72 | 0.64 | 197 | 7.01 | 6.4 | 139 | 4.82 | 3.2 | 49 | 0.41 | 0.38 | 244 | 15.83 | 12.8 | 64.5 | 15.64 | 9.6 | 137 | 1.48 | 1.28 | 55 | 1.49 | 1.28 | 176 | 7.36 | 6.4 | 50.5 | 1.93 | 1.6 | 330 | 2.9 | 2.56 | Standard 1 | 1 | 119 | 5 | 4.88 | 137.5 | 0.24 | 0.24 | 137.5 | 1.23 | 1.22 | 30 | 4.56 | 4.88 | 68.5 | 2.46 | 2.44 | 55 | 12.02 | 12.21 | 77 | 0.49 | 0.49 | 22 | 2.14 | 2.44 | --- |  | 12.21 | 72 | 4.83 | 4.88 | 22 | 12.21 | 12.21 | 68.5 | 2.39 | 2.44 | 73 | 4.96 | 4.88 | 128 | 4.85 | 4.88 | 14 | 1.31 | 1.22 | 16 | 2.27 | 2.44 | 50 | 12.12 | 12.21 | 243 | 2.38 | 2.44 | 31 | 23.17 | 24.41 | 22 | 0.24 | 0.24 | 35.5 | 12.06 | 12.21 | 83 | 2.45 | 2.44 | 122.5 | 2.45 | 2.44
Standard 3 | 1 | 89.8 | 66.58 | 64 | 171.3 | 15.57 | 16 | 125 | 15.48 | 16 | 250 | 120.71 | 128 | 364.5 | 4.55 | 4.8 | 188 | 148.14 | 160 | 293.5 | 21.75 | 24 | 1496 | 11.31 | 12.8 | 112.5 | 5.84 | 6.4 | 183 | 37.09 | 40 | 354.5 | 5.72 | 6.4 | 1085.5 | 22.05 | 24 | 54.3 | 8.21 | 8 | 281 | 7.19 | 8 | 179.5 | 3.2 | 3.2 | 1171 | 6.45 | 6.4 | 837 | 3.02 | 3.2 | 436.5 | 2.92 | 3.2 | 370.5 | 2.96 | 3.2 | 1059.3 | 2.84 | 3.2 | 117 | 3.1 | 3.2 | 110.5 | 3.12 | 3.2 | 300 | 11.83 | 12.8 | 70.8 | 29.45 | 32 | 144 | 14.6 | 16 | 91 | 31.8 | 32 | 256.3 | 14.28 | 16 | 99.5 | 6.2 | 6.4 | 1767 | 183.44 | 200 | 1098 | 148.34 | 160 | 296.3 | 2.9 | 3.2 | 340.3 | 62.9 | 64 | 111.3 | 78.21 | 80 | 924.5 | 12.32 | 12.8 | 545.5 | 14.94 | 16 | 692 | 37.75 | 40 | 767.5 | 184.63 | 200 | 1125.5 | 2.96 | 3.2 | 646.8 | 28.9 | 32 | 193.5 | 17.66 | 16 | 80.3 | 2.26 | 1.92 | 721 | 56.26 | 64 | 111.5 | 46.89 | 48 | 496 | 5.85 | 6.4 | 129 | 6.04 | 6.4 | 632.5 | 28.9 | 32 | 103 | 7.15 | 8 | 619.5 | 11.11 | 12.8 | Standard 2 | 1 | 153.5 | 19.76 | 19.53 | 242 | 1.02 | 0.98 | 311.5 | 4.86 | 4.88 | 45 | 19.89 | 19.53 | 224.5 | 9.61 | 9.77 | 300 | 51.89 | 48.83 | 362 | 1.92 | 1.95 | 40 | 10.34 | 9.77 | 44.5 | 48.83 | 48.83 | 232.8 | 20.18 | 19.53 | 28 | 48.83 | 48.83 | 115 | 9.7 | 9.77 | 192 | 18.75 | 19.53 | 330 | 19.89 | 19.53 | 22.3 | 4.85 | 4.88 | 35 | 10.19 | 9.77 | 115.5 | 49.27 | 48.83 | 426 | 10.07 | 9.77 | 50.5 | 99.66 | 97.66 | 73 | 0.98 | 0.98 | 73 | 49.6 | 48.83 | 270 | 9.65 | 9.77 | 470.5 | 9.67 | 9.77
Standard 4 | 1 | 474.3 | 301.96 | 320 | 1844.5 | 81.35 | 80 | 1302.3 | 83.71 | 80 | 2589.3 | 671.76 | 640 | 1718.8 | 24.28 | 24 | 1799.8 | 839.31 | 800 | 1572 | 123.54 | 120 | 2554 | 61.46 | 64 | 554.5 | 32.36 | 32 | 1030.5 | 199.27 | 200 | 1548.8 | 32.97 | 32 | 3979 | 126.18 | 120 | 199 | 38.01 | 40 | 1316.8 | 40.95 | 40 | 631.5 | 15.64 | 16 | 2651.8 | 31.09 | 32 | 3023 | 17.28 | 16 | 1821 | 17.01 | 16 | 1543.8 | 17.44 | 16 | 2553.5 | 18.07 | 16 | 458.3 | 15.58 | 16 | 1351.8 | 16.04 | 16 | 1408.5 | 71.38 | 64 | 352 | 161.49 | 160 | 735.8 | 82.69 | 80 | 402.8 | 156.56 | 160 | 1235.8 | 85.04 | 80 | 444.3 | 31.78 | 32 | 9818 | 1065.46 | 1000 | 4543.3 | 867.16 | 800 | 1319 | 16.1 | 16 | 1765.5 | 324.69 | 320 | 2363 | 405.1 | 400 | 5549.8 | 67.72 | 64 | 4381.3 | 83.91 | 80 | 4233 | 216.52 | 200 | 3188 | 1038.13 | 1000 | 4752 | 16.97 | 16 | 3043.5 | 173.93 | 160 | 895.5 | 78.13 | 80 | 492.3 | 9.26 | 9.6 | 3588.8 | 332.92 | 320 | 854 | 241.04 | 240 | 2957.5 | 33.38 | 32 | 475.8 | 32.56 | 32 | 3647.5 | 169.09 | 160 | 418.3 | 42.14 | 40 | 2149 | 73.33 | 64 | Standard 3 | 1 | 349 | 76.63 | 78.13 | 618 | 3.73 | 3.91 | 906.5 | 19.48 | 19.53 | 185.8 | 77.54 | 78.13 | 918 | 39.43 | 39.06 | 1545 | 178.82 | 195.31 | 1779 | 8.14 | 7.81 | 145 | 38.7 | 39.06 | 59 | 195.31 | 195.31 | 670.3 | 75.25 | 78.13 | 46.5 | 195.31 | 195.31 | 316 | 41.15 | 39.06 | 706 | 82.09 | 78.13 | 963 | 76.06 | 78.13 | 231 | 19.56 | 19.53 | 163.5 | 38.44 | 39.06 | 477 | 192.83 | 195.31 | 1002.5 | 38.26 | 39.06 | 180.8 | 388.59 | 390.63 | 373.8 | 3.86 | 3.91 | 203.5 | 194.28 | 195.31 | 930 | 39.04 | 39.06 | 1479.5 | 39.72 | 39.06
Standard 5 | 1 | 3789.5 | 1652.13 | 1600 | 8709.8 | 401.03 | 400 | 6192 | 378.71 | 400 | 9077.5 | 3149.66 | 3200 | 6978.5 | 120.99 | 120 | 9476.5 | 3920.24 | 4000 | 7610.3 | 600.95 | 600 | 5255 | 349.71 | 320 | 2471 | 162.73 | 160 | 5703.5 | 1019.21 | 1000 | 6495.5 | 160.26 | 160 | 11178.5 | 590.57 | 600 | 1109.3 | 204.42 | 200 | 4961.5 | 208.01 | 200 | 2679 | 81.17 | 80 | 6316.5 | 173.68 | 160 | 8743.5 | 76.6 | 80 | 6233.5 | 78.85 | 80 | 5347 | 77.91 | 80 | 5730 | 73.66 | 80 | 1984.3 | 83.33 | 80 | 9339.5 | 81.42 | 80 | 4920 | 308.87 | 320 | 1911.3 | 803.63 | 800 | 3631.5 | 399.19 | 400 | 2221 | 816.94 | 800 | 4724.5 | 396.18 | 400 | 2418.8 | 161.39 | 160 | 21736 | 4344.68 | 5000 | 11197 | 3796.58 | 4000 | 5465 | 81.86 | 80 | 5071 | 1564.79 | 1600 | 14523.5 | 1955.06 | 2000 | 13983 | 308.44 | 320 | 16016 | 385.51 | 400 | 10613.5 | 961.4 | 1000 | 10136 | 4988.95 | 5000 | 13203.5 | 76.63 | 80 | 10136.3 | 772.74 | 800 | 7673.5 | 412.67 | 400 | 6599 | 49.72 | 48 | 12725 | 1648.95 | 1600 | 7382 | 1197.33 | 1200 | 11433.5 | 160.1 | 160 | 1369.5 | 166.33 | 160 | 13295 | 787.68 | 800 | 1710 | 201.96 | 200 | 6196.5 | 305.49 | 320 | Standard 4 | 1 | 1577.5 | 317.55 | 312.5 | 2371.5 | 16.37 | 15.63 | 2830.5 | 79.38 | 78.13 | 1598.8 | 314.15 | 312.5 | 3767.3 | 157.62 | 156.25 | 8725 | 982.13 | 781.25 | 6505 | 30.17 | 31.25 | 846.5 | 154.26 | 156.25 | 209.3 | 781.25 | 781.25 | 1998.5 | 320.05 | 312.5 | 111 | 781.25 | 781.25 | 1002.8 | 148.25 | 156.25 | 2334.5 | 305.67 | 312.5 | 2944 | 320.46 | 312.5 | 3521 | 78.15 | 78.13 | 1054.5 | 154.97 | 156.25 | 2258.8 | 796.29 | 781.25 | 3034 | 157.58 | 156.25 | 1023 | 1558.97 | 1562.5 | 1915.3 | 15.84 | 15.63 | 673.8 | 776.69 | 781.25 | 3230.8 | 159.67 | 156.25 | 3413.3 | 157.54 | 156.25
Standard 6 | 1 | 16949.5 | 7893.17 | 8000 | 17016 | 1877.78 | 2000 | 16045.8 | 2172.19 | 2000 | 12947 | 11047.79 | 16000 | 17870 | 596.48 | 600 | 21113 | 20578.08 | 20000 | 21733 | 2987.45 | 3000 | 10090.5 | 1510.59 | 1600 | 7915 | 798.63 | 800 | 18570 | 4923.65 | 5000 | 19894 | 799.07 | 800 | 20460.5 | 3061.68 | 3000 | 5314 | 1002.05 | 1000 | 12443 | 957.92 | 1000 | 9328.3 | 399.59 | 400 | 10978.5 | 737.68 | 800 | 20025.5 | 416.31 | 400 | 18379.5 | 401.59 | 400 | 17584 | 400.37 | 400 | 13555 | 430.34 | 400 | 6949 | 390.81 | 400 | 17023 | 337.95 | 400 | 15546 | 1582.68 | 1600 | 10712 | 4000.01 | 4000 | 15009.5 | 1994.66 | 2000 | 8482 | 3955.18 | 4000 | 14463 | 1999.57 | 2000 | 10741.8 | 797.5 | 800 | 24917.5 | 27482.58 | 25000 | 19604 | 20752.2 | 20000 | 16477.5 | 393.84 | 400 | 8528 | 8214.74 | 8000 | 23849 | 11324.02 | 10000 | 20639 | 1332.79 | 1600 | 24213.5 | 2236.38 | 2000 | 15793 | 4163.71 | 5000 | 19035 | 24674.11 | 25000 | 22370.8 | 436.84 | 400 | 22226 | 4258.61 | 4000 | 17581 | 1740.94 | 2000 | 19184 | 213.04 | 240 | 21169.5 | 6434.54 | 8000 | 17687 | 6093.1 | 6000 | 21155 | 750.7 | 800 | 2873.5 | 799.27 | 800 | 22386 | 4100.2 | 4000 | 7231 | 986.6 | 1000 | 17985 | 1626.53 | 1600 | Standard 5 | 1 | 7969.3 | 1240.05 | 1250 | 7382.3 | 60.39 | 62.5 | 7633.5 | 305.85 | 312.5 | 11163 | 1243.81 | 1250 | 12752 | 613.13 | 625 | 13710 | 2422.69 | 3125 | 16755.5 | 127.67 | 125 | 4960 | 635.24 | 625 | 1471 | 3125 | 3125 | 4751 | 1243.98 | 1250 | 397.5 | 3125 | 3125 | 4115.5 | 641.65 | 625 | 7213.8 | 1253.38 | 1250 | 7215 | 1236.62 | 1250 | 16024.5 | 308.81 | 312.5 | 5380 | 643.65 | 625 | 7228.5 | 3045.88 | 3125 | 8607 | 624.13 | 625 | 4996 | 6292.23 | 6250 | 6624.5 | 61.66 | 62.5 | 2271.3 | 3145.42 | 3125 | 9740 | 611 | 625 | 6153 | 602.41 | 625
Standard 7 | 1 | 24563.5 | 43052.72 | 40000 | 21600.5 | 10410.41 | 10000 | 22243 | 10014.21 | 10000 | 14541.5 | 70851.48 | 80000 | 23597 | 2724 | 3000 | 24588.5 | 95918.58 | 100000 | 25013.5 | 15258.78 | 15000 | 17667.5 | 8511.42 | 8000 | 14374 | 3838.47 | 4000 | 24530 | 25000.97 | 25000 | 24965 | 3831.11 | 4000 | 23246.3 | 12936.38 | 15000 | 15267 | 4956.69 | 5000 | 20778 | 5065.77 | 5000 | 19609 | 1982.29 | 2000 | 17189.3 | 3976.68 | 4000 | 24861 | 2077.21 | 2000 | 25023.5 | 1976.09 | 2000 | 25259 | 2398.03 | 2000 | 20650 | 1884.42 | 2000 | 17410 | 2041.91 | 2000 | 19410 | 1940.19 | 2000 | 24778 | 10950.24 | 8000 | 25295 | 19999.92 | 20000 | 24525 | 10666.64 | 10000 | 17831 | 20100.71 | 20000 | 23133.5 | 10100.19 | 10000 | 21838.5 | 4023 | 4000 | 25169 | OOR > | 125000 | 23649 | 97501.78 | 100000 | 24387 | 2205.76 | 2000 | 10459.5 | 37325.92 | 40000 | 25278 | 53330.57 | 50000 | 24913.5 | 21759 | 8000 | 25145 | 7890.96 | 10000 | 18485.5 | 25652.78 | 25000 | 21540 | 111860.69 | 125000 | 24889.5 | 2216.62 | 2000 | 25361 | 23673.62 | 20000 | 21012 | 9696.4 | 10000 | 23010.5 | 676.57 | 1200 | 23627.8 | 41558.21 | 40000 | 19499.5 | 26669.62 | 30000 | 24086 | 3637.23 | 4000 | 4702.5 | 3570.42 | 4000 | 23630 | 14841.81 | 20000 | 21104.5 | 5055.64 | 5000 | 24922 | 7600.45 | 8000 | Standard 6 | 1 | 22084.8 | 5089.83 | 5000 | 17137.8 | 260.65 | 250 | 16546 | 1277.08 | 1250 | 23235 | 5369.47 | 5000 | 23791.5 | 2775.85 | 2500 | 16442 | 5205.68 | 12500 | 23664.5 | 578.13 | 500 | 15590 | 2454.59 | 2500 | 7103 | 12500 | 12500 | 8750.5 | 4970.17 | 5000 | 1399.3 | 12500 | 12500 | 13253.5 | 2485.25 | 2500 | 13912 | 5052.5 | 5000 | 14531.5 | 4996.76 | 5000 | 24333.5 | 1610.27 | 1250 | 13865 | 2388.31 | 2500 | 14990.8 | 13021.8 | 12500 | 16729.3 | 2497.44 | 2500 | 14016.8 | 24761.45 | 25000 | 14754.8 | 253.38 | 250 | 5805.5 | 12447.05 | 12500 | 20701 | 2592.83 | 2500 | 9580 | 2531.07 | 2500
Standard 8 | 1 | 25019 | 195323.84 | 200000 | 23071.5 | 77541.41 | 50000 | 24940.5 | 42429.19 | 50000 | 15425.5 | OOR > | 400000 | 24904 | OOR > | 15000 | 25190.5 | 490777.18 | 500000 | 25150.5 | OOR > | 75000 | 20550 | 35710.18 | 40000 | 17598 | 22630.8 | 20000 | 25108 | OOR > | 125000 | 25298 | OOR > | 20000 | 23849 | OOR > | 75000 | 21272 | 25573.01 | 25000 | 24736 | 26393.23 | 25000 | 24864 | 10248.11 | 10000 | 22934 | 21028.4 | 20000 | 25440 | 5245.05 | 10000 | --- |  | 10000 | 25448 | 3459.18 | 10000 | 25290 | 10405.53 | 10000 | 23921.5 | 9735.88 | 10000 | 20086.5 | OOR > | 10000 | 25265 | 16495.45 | 40000 | --- |  | 100000 | 25295 | 29358.46 | 50000 | 22609 | 100477.73 | 100000 | 25321.5 | 48042.74 | 50000 | 24485 | 19572.31 | 20000 | 25347 | OOR > | 625000 | 25162 | 534661.66 | 500000 | 25184 | 6551.86 | 10000 | 11549.5 | 228529.99 | 200000 | 25357.5 | 73495.92 | 250000 | 25064 | 30769.03 | 40000 | 25366 | OOR > | 50000 | 19586 | OOR > | 125000 | 21982.5 | OOR > | 625000 | 25171.5 | 4250.02 | 10000 | 25381.5 | 24878.41 | 100000 | 21839 | OOR > | 50000 | 25078 | OOR > | 6000 | 24310 | OOR > | 200000 | --- |  | 150000 | 24777 | OOR > | 20000 | 6974.5 | 22313.89 | 20000 | 23881.5 | OOR > | 100000 | 25181 | 22805.3 | 25000 | 25768.5 | 55081.55 | 40000 | Standard 7 | 1 | 24964 | 16920.9 | 20000 | 22786 | 951.38 | 1000 | 24693 | 4932.98 | 5000 | 24385 | 12278.92 | 20000 | 25629.5 | 6884.02 | 10000 | 21610 | OOR > | 50000 | 24882 | 1270.44 | 2000 | 23032.5 | 10384.46 | 10000 | 14922 | 50000 | 50000 | 12063.5 | 20154.32 | 20000 | 3981 | 50000 | 50000 | 22566 | 10059.48 | 10000 | 17087 | 19452.3 | 20000 | 23006 | 20054.66 | 20000 | 24964.5 | 2646.52 | 5000 | 21846 | 10573.59 | 10000 | 19871.5 | 48139.51 | 50000 | 20481.5 | 10042.1 | 10000 | 22430.5 | 101005.27 | 100000 | 21439 | 991.46 | 1000 | 8477 | 50280.19 | 50000 | 24778.5 | 9116.28 | 10000 | 12845 | 10141.41 | 10000
1 | 1 | 27 | 6.41 |  | 93 | 9.97 |  | 17.5 | 2.03 |  | 21 | OOR < |  | 19 | 0.13 |  | 45 | 43.48 |  | 42 | 0.26 |  | 1402 | 8.69 |  | 165 | 8.96 |  | 19 | OOR < |  | 69.5 | OOR < |  | 602.5 | 9.84 |  | 22 | 0.48 |  | 43 | 0.57 |  | 53.5 | 0.09 |  | 420 | OOR < |  | 38.5 | OOR < |  | 12.5 | 0.04 |  | 1698 | 19.57 |  | 72.5 | OOR < |  | 5617 | 294.18 |  | 26 | OOR < |  | 40.5 | 0.88 |  | 22 | 2.96 |  | 29 | 0.13 |  | 31 | 0.8 |  | 22 | 0.15 |  | 30 | OOR < |  | 22 | 0.36 |  | 26 | 0.23 |  | 30 | 0.08 |  | 157 | OOR < |  | 31 | 25.44 |  | 40 | OOR < |  | 16075 | 388.24 |  | 53 | 3.37 |  | 21448 | 96054.93 |  | 1408 | 3.9 |  | 47 | 0.97 |  | 1529.5 | 114.14 |  | 10155.5 | 73.91 |  | 53 | 1.16 |  | 48 | OOR < |  | 349 | 4.11 |  | 39.5 | 0.35 |  | 165.5 | 6.85 |  | 36 | 0.6 |  | 210 | 0.41 |  | 1 | 1 | 103 | OOR < |  | 210 | 0.79 |  | 68 | 0.02 |  | 29 | 2.2 |  | 61 | 2.1 |  | 19 | OOR < |  | 245 | 1.36 |  | 31.5 | 6.98 |  | 38 | OOR |  | 36 | 2.09 |  | 24 | 24.17 |  | 58 | 0.73 |  | 37 | 1 |  | 70.5 | 1 |  | 28.5 | 6.11 |  | 35 | 10.19 |  | 42 | 5.52 |  | 243 | 2.38 |  | 30 | 16.92 |  | 19.5 | 0.19 |  | 28 | 5.2 |  | 34 | 0.8 |  | 23 | OOR <
2 | 1 | 25 | 3.18 |  | 124 | 12.39 |  | 19 | 2.48 |  | 29 | 11.39 |  | 20 | 0.14 |  | 45 | 43.48 |  | 360 | 27.23 |  | 1060.5 | 1.96 |  | 3358.5 | 234.41 |  | 18 | OOR < |  | 85 | 0.22 |  | 1169 | 24.37 |  | 36 | 4.02 |  | 233 | 5.8 |  | 65 | 0.35 |  | 211 | OOR < |  | 54 | 0 |  | 12 | 0.03 |  | 23416 | 949.75 |  | 45 | OOR < |  | 22879 | 6544.47 |  | 25 | OOR < |  | 1556 | 80.08 |  | 35 | 10.5 |  | 26 | OOR < |  | 30.5 | 0.38 |  | 19 | 0.03 |  | 28.5 | OOR < |  | 31.5 | 1.5 |  | 25.5 | 0.18 |  | 47 | 0.23 |  | 157 | OOR < |  | 399 | 154.85 |  | 2228.5 | 26.32 |  | 25488.5 | OOR > |  | 5607 | 310.83 |  | 22994 | OOR > |  | 14002 | 86.23 |  | 332 | 13.19 |  | 19036.5 | 2576.22 |  | 24753 | OOR > |  | 44.5 | 0.59 |  | 39 | OOR < |  | 6719.5 | 79.95 |  | 85 | 3.35 |  | 3637 | 168.59 |  | 55.5 | 2.4 |  | 124.5 | OOR < |  | 2 | 1 | 116.5 | 3.58 |  | 213 | 0.81 |  | 91 | 0.38 |  | 266 | 99.45 |  | 491 | 21.28 |  | 26 | 2.82 |  | 1919 | 8.74 |  | 95.5 | 26.87 |  | 49 | 100.44 |  | 45 | 2.74 |  | 25 | 30.21 |  | 67.5 | 2.23 |  | 40 | 1.32 |  | 83 | 1.81 |  | 22455 | 813.29 |  | 7981 | 1011.21 |  | 39.5 | 2.9 |  | 432 | 10.34 |  | 39 | 59.92 |  | 552 | 5.33 |  | 37 | 13.48 |  | 35 | 0.83 |  | 28 | 0.27
3 | 1 | 27 | 6.41 |  | 97 | 10.3 |  | 22 | 3.23 |  | 41 | 24.43 |  | 22 | 0.17 |  | 38 | 36.42 |  | 357 | 26.98 |  | 1100 | 2.51 |  | 2746.5 | 184.09 |  | 19 | OOR < |  | 74 | 0.03 |  | 796 | 14.46 |  | 27 | 1.81 |  | 174 | 4.12 |  | 59 | 0.21 |  | 287 | OOR < |  | 50 | OOR < |  | 11 | 0.03 |  | 20512 | 569.06 |  | 50 | OOR < |  | 23053 | 6932.22 |  | 26 | OOR < |  | 849 | 39.79 |  | 34 | 9.94 |  | 22.5 | OOR < |  | 28 | OOR < |  | 19 | 0.03 |  | 29 | OOR < |  | 24 | 0.61 |  | 25 | 0.14 |  | 40 | 0.17 |  | 150 | OOR < |  | 393.5 | 153.75 |  | 356 | 5.65 |  | 24849 | 4060.69 |  | 4669 | 244.3 |  | 21441 | 95062.2 |  | 16859 | 133.57 |  | 279 | 10.71 |  | 14811 | 1057.77 |  | 24662.5 | OOR > |  | 42 | 0.43 |  | 39 | OOR < |  | 4535 | 51.79 |  | 182 | 9.41 |  | 1949 | 89.6 |  | 45 | 1.41 |  | 129 | OOR < |  | 3 | 1 | 81 | OOR < |  | 192 | 0.65 |  | 66 | OOR < |  | 391 | 128.41 |  | 1397.5 | 59.45 |  | 19.5 | OOR < |  | 1878 | 8.57 |  | 90.5 | 25.57 |  | 39 | OOR |  | 37 | 2.16 |  | 23 | 18.18 |  | 49 | OOR < |  | 29 | 0.17 |  | 62 | 0.46 |  | 6662 | 120.11 |  | 1984 | 256.85 |  | 41 | 4.53 |  | 245.5 | 2.48 |  | 26.5 | OOR < |  | 669 | 6.26 |  | 33 | 9.73 |  | 26 | 0.55 |  | 24 | OOR <
4 | 1 | 26 | 4.87 |  | 83 | 9.09 |  | 19 | 2.48 |  | 23.5 | OOR < |  | 19.5 | 0.14 |  | 37 | 35.36 |  | 105.5 | 5.92 |  | 1374 | 7.98 |  | 1172.5 | 71.3 |  | 20 | OOR < |  | 53.5 | OOR < |  | 501.5 | 7.6 |  | 26 | 1.56 |  | 59 | 0.98 |  | 63 | 0.3 |  | 359 | OOR < |  | 43.5 | OOR < |  | 7 | 0.02 |  | 4708 | 66.78 |  | 53 | OOR < |  | 18934 | 2641.14 |  | 24 | OOR < |  | 186 | 6.68 |  | 18 | 0.35 |  | 20.5 | OOR < |  | 29 | OOR < |  | 23 | 0.2 |  | 27.5 | OOR < |  | 25 | 0.73 |  | 18 | OOR < |  | 26 | 0.05 |  | 152 | OOR < |  | 20 | OOR < |  | 39 | OOR < |  | 24968 | 4952.22 |  | 579 | 32.51 |  | 21462 | 98115.93 |  | 7090 | 28.57 |  | 186 | 6.53 |  | 16019 | 1284.89 |  | 24574 | OOR > |  | 98.5 | 4.45 |  | 51.5 | OOR < |  | 2390 | 27.01 |  | 37.5 | 0.11 |  | 351 | 15.71 |  | 34.5 | 0.47 |  | 160 | OOR < |  | 4 | 1 | 127 | 8.98 |  | 181 | 0.57 |  | 66 | OOR < |  | 49 | 22.68 |  | 295.5 | 12.76 |  | 18 | OOR < |  | 1893 | 8.63 |  | 22 | 2.14 |  | 41 | 8.38 |  | 34 | 1.95 |  | 26 | 36.31 |  | 54 | 0.09 |  | 30.5 | 0.32 |  | 74 | 1.22 |  | 1352 | 46.04 |  | 616.5 | 103.06 |  | 38.5 | 1.61 |  | 245 | 2.46 |  | 27 | OOR < |  | 221 | 2.51 |  | 31 | 7.9 |  | 30 | 0.68 |  | 24 | OOR <
5 | 1 | 28 | 7.86 |  | 91 | 9.8 |  | 27 | 4.28 |  | 28 | 9.87 |  | 32 | 0.28 |  | 32.5 | 30.47 |  | 894 | 70.21 |  | 445 | OOR < |  | 10492.5 | 1412.44 |  | 25.5 | 1.01 |  | 90.5 | 0.32 |  | 1379 | 30.42 |  | 66 | 10.8 |  | 1978 | 65.62 |  | 81 | 0.72 |  | 126.5 | OOR < |  | 98 | 0.07 |  | 15 | 0.05 |  | 25353 | 2782.7 |  | 42.5 | OOR < |  | 24509.5 | 13267.22 |  | 26 | OOR < |  | 14452 | 1379.48 |  | 43.5 | 15.16 |  | 30 | 0.28 |  | 51 | 12.53 |  | 26 | 0.34 |  | 64 | 3.21 |  | 30.5 | 1.38 |  | 28 | 0.41 |  | 45 | 0.21 |  | 133 | OOR < |  | 1761.5 | 341.29 |  | 15796 | 429.56 |  | 24949 | 4778.76 |  | 15308 | 3462.84 |  | 20290 | 38878.75 |  | 21951 | 382.95 |  | 458 | 19.3 |  | 20526 | 5451.42 |  | 25025 | OOR > |  | 67 | 2.15 |  | 51 | OOR < |  | 20822 | 690.36 |  | 120 | 5.48 |  | 3038.5 | 140.25 |  | 81.5 | 4.96 |  | 56 | OOR < |  | 5 | 1 | 98 | OOR < |  | 284 | 1.33 |  | 75.5 | 0.12 |  | 4970 | 658.67 |  | 1695 | 71.77 |  | 29 | 4.16 |  | 8302 | 40.38 |  | 64.5 | 18.35 |  | 41 | 8.38 |  | 39.5 | 2.34 |  | 21 | 6.24 |  | 48 | OOR < |  | 29 | 0.17 |  | 58 | 0.21 |  | 23667 | 1178.64 |  | 11475.5 | 1696.46 |  | 39 | 2.29 |  | 337 | 6.19 |  | 33 | 33.9 |  | 6221 | 56.76 |  | 33.5 | 10.2 |  | 33 | 0.77 |  | 20.5 | OOR <
6 | 1 | 30 | 10.57 |  | 86 | 9.36 |  | 23.5 | 3.57 |  | 33 | 16.5 |  | 30 | 0.26 |  | 34 | 32.13 |  | 875.5 | 68.74 |  | 670.5 | OOR < |  | 9072.5 | 1031.73 |  | 20 | OOR < |  | 87 | 0.26 |  | 985 | 19.33 |  | 41 | 5.19 |  | 977 | 29.19 |  | 72.5 | 0.52 |  | 176 | OOR < |  | 85.5 | 0.05 |  | 9 | 0.02 |  | 24844 | 1639.49 |  | 33 | OOR < |  | 19825 | 3115.59 |  | 26.5 | OOR < |  | 10665 | 846.04 |  | 47 | 17.04 |  | 24 | OOR < |  | 45 | 9.34 |  | 24 | 0.25 |  | 56 | 2.51 |  | 31 | 1.44 |  | 26 | 0.23 |  | 42 | 0.19 |  | 129 | OOR < |  | 1525 | 314.63 |  | 13026 | 261.05 |  | 25252 | 14328.94 |  | 10700 | 980.48 |  | 18915 | 23844.88 |  | 24089.5 | 969.64 |  | 447.5 | 18.78 |  | 18983 | 2531.07 |  | 24781.5 | OOR > |  | 70 | 2.36 |  | 43.5 | OOR < |  | 17055.5 | 344.25 |  | 217.5 | 11.79 |  | 1583.5 | 72.77 |  | 74 | 4.21 |  | 60 | OOR < |  | 6 | 1 | 153 | 19.57 |  | 230 | 0.93 |  | 96 | 0.46 |  | 3652 | 534.55 |  | 3978.5 | 166.48 |  | 46.5 | 9.81 |  | 12598 | 73.03 |  | 135 | 36.43 |  | 60 | 203.12 |  | 52 | 3.26 |  | 40 | 137.99 |  | 71 | 2.78 |  | 49 | 2.3 |  | 97.5 | 2.77 |  | 23594.5 | 1146.62 |  | 8928.5 | 1170.27 |  | 55.5 | 16.02 |  | 397 | 8.79 |  | 51 | 101.22 |  | 8032 | 80.82 |  | 52 | 28.12 |  | 50.5 | 1.34 |  | 47 | 0.83
7 | 1 | 25 | 3.18 |  | 85 | 9.27 |  | 14 | 0.27 |  | 22 | OOR < |  | 18 | 0.12 |  | 27.5 | 24.64 |  | 51 | 1.1 |  | 1363 | 7.7 |  | 751 | 44.47 |  | 19 | OOR < |  | 55 | OOR < |  | 219 | 2.18 |  | 19 | OOR < |  | 48 | 0.7 |  | 54.5 | 0.11 |  | 356 | OOR < |  | 32 | OOR < |  | 12 | 0.03 |  | 3010.5 | 38.99 |  | 45.5 | OOR < |  | 14465.5 | 1302.99 |  | 20.5 | OOR < |  | 85 | 2.51 |  | 17 | OOR < |  | 26 | OOR < |  | 27 | OOR < |  | 22 | 0.15 |  | 27 | OOR < |  | 23 | 0.48 |  | 24 | 0.06 |  | 26 | 0.05 |  | 134 | OOR < |  | 22 | OOR < |  | 1799 | 21.7 |  | 24553.5 | 2898.25 |  | 867 | 45.72 |  | 20009.5 | 34389.38 |  | 3889 | 13.25 |  | 174.5 | 6.04 |  | 13014.5 | 820.09 |  | 23992 | OOR > |  | 74 | 2.65 |  | 44 | OOR < |  | 1388 | 15.9 |  | 37 | OOR < |  | 141.5 | 5.69 |  | 34 | 0.43 |  | 164 | OOR < |  | 7 | 1 | 144 | 16.15 |  | 203 | 0.73 |  | 70.5 | 0.05 |  | 43 | 18.39 |  | 302 | 13.05 |  | 32 | 5.32 |  | 2236 | 10.1 |  | 33 | 7.62 |  | 52 | 132.27 |  | 39 | 2.3 |  | 26 | 36.31 |  | 59 | 0.89 |  | 41 | 1.43 |  | 72 | 1.09 |  | 20833 | 582.45 |  | 1772 | 234 |  | 50.5 | 12.49 |  | 300 | 4.65 |  | 36 | 47.69 |  | 285 | 3.09 |  | 39 | 15.38 |  | 40 | 0.99 |  | 26 | 0.18
8 | 1 | 29 | 9.24 |  | 72.5 | 8.1 |  | 21 | 3 |  | 29 | 11.39 |  | 19.5 | 0.14 |  | 26 | 22.78 |  | 245 | 17.73 |  | 471 | OOR < |  | 7808.5 | 779.78 |  | 19 | OOR < |  | 66 | OOR < |  | 1179 | 24.65 |  | 38.5 | 4.61 |  | 254 | 6.4 |  | 68 | 0.42 |  | 135 | OOR < |  | 61.5 | 0.01 |  | 12 | 0.03 |  | 24126 | 1171.36 |  | 32.5 | OOR < |  | 22019 | 5091.49 |  | 25 | OOR < |  | 4780 | 298.27 |  | 37 | 11.61 |  | 25 | OOR < |  | 34.5 | 3.23 |  | 23 | 0.2 |  | 35 | 0.54 |  | 27 | 0.97 |  | 21 | OOR < |  | 37 | 0.14 |  | 147 | OOR < |  | 710.5 | 208.68 |  | 4909.5 | 58.65 |  | 23910 | 1879 |  | 11349.5 | 1139.06 |  | 18940 | 24013.14 |  | 20264 | 250.04 |  | 459 | 19.35 |  | 18816 | 2400.25 |  | 24697 | OOR > |  | 51 | 1.03 |  | 46 | OOR < |  | 13379 | 206.91 |  | 68 | 2.31 |  | 715.5 | 32.76 |  | 52 | 2.07 |  | 65 | OOR < |  | 8 | 1 | 108 | OOR < |  | 182 | 0.58 |  | 68 | 0.02 |  | 1523 | 304.67 |  | 1282 | 54.65 |  | 42 | 8.55 |  | 3164 | 14.14 |  | 69.5 | 19.81 |  | 57 | 178.86 |  | 44.5 | 2.7 |  | 36 | 105.45 |  | 65 | 1.83 |  | 45.5 | 1.92 |  | 63 | 0.52 |  | 23791 | 1238.38 |  | 11559 | 1716.79 |  | 52 | 13.58 |  | 343 | 6.45 |  | 47 | 88.4 |  | 4200 | 35.35 |  | 46 | 22.17 |  | 39.5 | 0.98 |  | 38 | 0.6
9 | 1 | 25 | 3.18 |  | 46 | 5.02 |  | 17 | 1.86 |  | 23 | OOR < |  | 13 | 0.07 |  | 22 | 17.51 |  | 188.5 | 13 |  | 277 | OOR < |  | 5478.5 | 446.43 |  | 15 | OOR < |  | 48 | OOR < |  | 406 | 5.61 |  | 25 | 1.29 |  | 210 | 5.14 |  | 52 | 0.06 |  | 62 | OOR < |  | 43 | OOR < |  | 9.5 | 0.03 |  | 19349 | 490.53 |  | 18 | OOR < |  | 19253.5 | 2798.02 |  | 20.5 | OOR < |  | 3455.5 | 202.6 |  | 23 | 3.57 |  | 21 | OOR < |  | 26 | OOR < |  | 16 | OOR < |  | 22.5 | OOR < |  | 21 | 0.24 |  | 19.5 | OOR < |  | 35.5 | 0.13 |  | 88 | OOR < |  | 743 | 213.62 |  | 1213 | 15.45 |  | 20669 | 747.57 |  | 7690 | 503.51 |  | 16972.5 | 15221.94 |  | 20161 | 244.5 |  | 318 | 12.53 |  | 14532 | 1014.54 |  | 22876 | 618.61 |  | 40 | 0.3 |  | 33 | OOR < |  | 6876 | 82.13 |  | 69 | 2.38 |  | 346.5 | 15.5 |  | 40 | 0.96 |  | 54 | OOR < |  | 9 | 1 | 95.5 | OOR < |  | 154 | 0.36 |  | 96 | 0.46 |  | 1586 | 312.56 |  | 4142 | 173.37 |  | 29.5 | 4.37 |  | 10174 | 52.85 |  | 122 | 33.4 |  | 47 | 77.88 |  | 37.5 | 2.2 |  | 24 | 24.17 |  | 58 | 0.73 |  | 33.5 | 0.63 |  | 66 | 0.71 |  | 18577.5 | 416.41 |  | 8303 | 1063.47 |  | 40 | 3.47 |  | 287 | 4.12 |  | 32.5 | 31.37 |  | 4889 | 42.12 |  | 35 | 11.59 |  | 35.5 | 0.85 |  | 26 | 0.18